## 20170922_MK181_DyeTest
##BLOCKS= 3
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards, unknowns, and controls. To make modifications, click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2, M2e, M3, M4, M5, and M5e.
SpectraMax Plus 384, 190, SpectraMax 190, 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: | 20170922_ThTPBB5_fibril | 1.3 | PlateFormat | Endpoint | Fluorescence | FALSE | Raw | FALSE | 1 | [5 empty] | 3 | 485 706 685 | 1 | 24 | 384 | 444 642 630 | Automatic | 475 695 665 |  |  | 6 |  |  | 1 | 16
| Temperature(¡C) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 25 | 1.372 | 1.301 | 1.197 | 1.198 | 1.097 | 1.14 | 1.165 | 1.185 | 1.081 | 1.57 | 1.444 | 1.12 | 1.364 | 1.125 | 1.168 | 1.35 | 1.214 | 1.375 | 1.077 | 1.751 | 1.13 | 2.252 | 1.209 | 2.152 | 0.329 | 0.248 | 0.323 | 0.251 | 0.448 | 0.271 | 0.241 | 0.281 | 0.228 | 0.328 | 0.291 | 0.217 | 0.165 | 0.249 | 0.265 | 0.321 | 0.242 | 0.221 | 0.274 | 0.208 | 0.247 | 0.358 | 0.278 | 0.643 | 0.319 | 0.289 | 0.269 | 0.374 | 0.299 | 0.309 | 0.347 | 0.339 | 0.303 | 0.429 | -0.335 | 0.209 | 0.285 | 0.268 | 0.242 | 0.288 | 0.28 | 0.253 | 0.234 | 0.279 | 0.315 | 0.684 | 0.353 | 0.557
|  | 1.243 | 1.157 | 1.067 | 0.971 | 1.214 | 1.024 | 1.066 | 1.047 | 1.573 | 1.132 | 1.17 | 1.057 | 1.158 | 1.911 | 1.208 | 1.107 | 1.173 | 1.122 | 1.021 | 1.241 | 1.113 | 1.559 | 1.453 | 1.42 | 0.261 | 0.277 | 0.267 | 0.236 | 0.209 | 0.174 | 0.239 | 0.302 | 0.26 | 0.303 | 0.22 | 0.303 | 0.221 | 0.326 | 0.232 | 0.338 | 0.279 | 0.278 | 0.232 | 0.254 | 0.186 | 0.311 | 0.266 | 1.14 | 0.299 | 0.285 | 0.259 | 0.257 | 0.282 | 0.291 | 0.29 | 0.285 | 0.302 | 0.266 | 0.258 | 0.378 | 0.312 | 0.523 | 0.281 | 0.277 | 0.326 | 0.271 | 0.313 | 0.272 | 0.258 | 0.34 | 0.324 | 0.293
|  | 1.021 | 0.889 | 1.183 | 0.975 | 0.84 | 1.057 | 1.283 | 0.989 | 0.99 | 1.176 | 0.944 | 0.999 | 1.032 | 1.008 | 1.003 | 1.099 | 0.971 | 0.878 | 0.994 | 1.083 | 1.14 | 1.398 | 2.09 | 1.274 | 0.268 | 0.206 | 0.255 | 0.246 | 0.247 | 0.272 | 0.272 | 0.277 | 0.284 | 0.36 | 0.253 | 0.272 | 0.23 | 0.296 | 0.232 | 0.246 | 0.228 | 0.252 | 0.258 | 0.175 | -2.548 | 0.272 | 0.453 | 0.243 | 0.257 | 0.308 | 0.236 | 0.282 | 0.251 | 0.265 | 0.341 | 0.328 | 0.321 | 0.297 | 0.268 | 0.303 | 0.251 | 0.229 | 0.233 | 0.285 | 0.248 | 0.292 | 0.312 | 0.207 | 0.307 | 0.404 | 0.594 | 0.366
|  | 0.805 | 0.946 | 0.968 | 0.785 | 0.841 | 1.085 | 1.01 | 0.942 | 1.126 | 0.996 | 1.013 | 1.095 | 1.12 | 1.493 | 1.027 | 0.996 | 1.084 | 1.083 | 0.981 | 1.124 | 1.492 | 1.454 | 1.312 | 1.24 | 0.202 | 0.203 | 0.221 | 0.238 | 0.314 | 0.459 | 0.292 | 0.305 | 0.243 | 0.28 | 0.172 | 0.275 | 0.367 | 0.228 | 0.238 | 0.255 | 0.264 | 0.255 | 0.296 | 0.262 | 0.292 | 0.272 | 0.292 | 0.27 | 0.291 | 0.261 | 0.271 | 0.221 | 0.224 | 0.645 | 0.28 | 0.265 | 0.365 | 0.37 | 0.3 | 0.232 | 0.274 | 0.397 | 0.257 | 0.291 | 0.316 | 0.263 | 0.423 | 0.228 | 0.329 | 0.414 | 0.388 | 0.276
|  | 1.186 | 1.919 | 1.324 | 1.935 | 1.295 | 1.279 | 1.343 | 2.187 | 1.223 | 2.41 | 1.234 | 1.378 | 1.06 | 2.047 | 1.078 | 1.267 | 1.611 | 1.769 | 1.541 | 2.299 | 2.217 | 1.423 | 1.458 | 1.431 | 0.327 | 0.32 | 0.416 | 0.46 | 0.289 | 0.269 | 0.318 | 0.478 | 0.28 | 0.417 | 0.265 | 0.269 | 0.231 | 0.403 | 0.264 | 0.249 | 0.312 | 0.383 | 0.384 | 0.491 | 0.324 | 0.278 | 0.35 | 0.333 | 0.36 | 0.473 | 0.33 | 0.514 | 0.327 | 0.318 | 0.349 | 0.61 | 0.292 | 0.577 | 0.316 | 0.434 | 0.265 | 0.541 | 0.291 | 0.374 | 0.402 | 0.531 | 0.436 | 0.563 | 0.541 | 0.413 | 0.365 | 0.452
|  | 6.832 | 7.683 | 6.787 | 9.03 | 9.88 | 8.927 | 6.609 | 10.606 | 6.744 | 252.658 | 220.537 | 186.013 | 111.432 | 115.207 | 122.573 | 1113.267 | 872.799 | 807.707 | 1144.903 | 1210.952 | 1816.584 | 12.226 | 13.52 | 12.12 | 0.22 | 1.773 | 0.265 | 0.271 | 0.271 | 0.208 | 0.327 | 0.218 | 0.254 | 0.22 | 0.283 | 0.293 | 0.238 | 0.307 | 0.253 | 0.816 | 0.272 | 0.242 | 0.284 | 0.22 | 0.195 | 0.189 | 0.19 | 0.373 | 0.251 | 0.366 | 0.358 | 0.226 | 0.404 | 0.345 | 0.366 | 0.334 | 0.291 | 0.211 | 0.242 | 0.302 | 0.324 | 0.372 | 0.232 | 1.053 | 0.338 | 0.293 | 0.27 | 0.261 | 0.277 | 0.363 | 0.463 | 0.339
|  | 7.865 | 12.788 | 7.744 | 8.404 | 14.559 | 9.516 | 10.255 | 13.512 | 7.801 | 112.098 | 109.268 | 128.512 | 72.969 | 78.327 | 65.662 | 292.423 | 289.349 | 371.851 | 472.031 | 596.211 | 1324.801 | 13.302 | 13.175 | 10.943 | 0.253 | 0.499 | 0.217 | 0.253 | 0.452 | 0.236 | 0.229 | 0.244 | 0.274 | 0.279 | 0.273 | 0.221 | 0.242 | 0.191 | 0.205 | -2.275 | 0.182 | 0.36 | 0.249 | 0.226 | 0.282 | 0.3 | 0.332 | 0.305 | 0.355 | 0.476 | 0.268 | 0.254 | 0.479 | 0.253 | 0.352 | 0.272 | 0.292 | 0.3 | 0.259 | 0.27 | 0.309 | 0.392 | 0.342 | 0.252 | 0.26 | 0.271 | 0.262 | 0.253 | 0.247 | 0.439 | 0.362 | 0.451
|  | 8.711 | 12.35 | 7.686 | 13.933 | 15.771 | 8.836 | 12.785 | 12.605 | 8.176 | 67.385 | 70.637 | 97.098 | 46.833 | 47.737 | 46.76 | 109.442 | 186.672 | 235.433 | 679.481 | 222.23 | 461.855 | 12.898 | 13.101 | 12.666 | 0.266 | 0.248 | 0.208 | 0.252 | 0.24 | 0.237 | 0.271 | 0.229 | 0.305 | 0.271 | 0.267 | 0.253 | 0.203 | 0.189 | 0.29 | 0.196 | 0.243 | 0.264 | 0.214 | 0.189 | 0.26 | 0.344 | 0.319 | 0.306 | 0.325 | 0.263 | 0.265 | 0.263 | 0.27 | 0.337 | 0.334 | 0.272 | 0.254 | 0.311 | 0.359 | 0.246 | 0.261 | 0.302 | 0.258 | 0.281 | 0.258 | 0.279 | 0.22 | 0.242 | 0.223 | 0.377 | 0.348 | 0.446
|  | 10.502 | 10.363 | 9.249 | 8.175 | 9.648 | 9.08 | 13.043 | 12.961 | 8.793 | 51.081 | 49.341 | 51.374 | 30.271 | 28.992 | 29.027 | 81.326 | 159.21 | 162.517 | 198.619 | 237.623 | 524.321 | 13.525 | 40.481 | 12.729 | 0.29 | 0.259 | 0.371 | 0.287 | 0.215 | 0.226 | 0.288 | 0.282 | 0.213 | 0.248 | 0.24 | 0.272 | 0.236 | 0.258 | 0.24 | 0.251 | 0.278 | 0.191 | 0.187 | 0.321 | 0.46 | 0.331 | 0.382 | 0.278 | 0.27 | 0.287 | 0.322 | 0.331 | 0.347 | 0.31 | 0.292 | 0.326 | 0.259 | 0.258 | 0.25 | 0.229 | 0.275 | 0.312 | 0.281 | 0.275 | 0.272 | 0.28 | 0.288 | 0.254 | 0.308 | 0.315 | 0.606 | 0.374
|  | 10.549 | 9.558 | 10.884 | 8.975 | 10.975 | 11.414 | 9.999 | 9.951 | 11.765 | 12.691 | 11.21 | 11.407 | 11.855 | 11.886 | 11.708 | 11.794 | 15.31 | 12.066 | 10.736 | 10.793 | 10.947 | 13.503 | 12.622 | 13.666 | 0.383 | 0.423 | 0.244 | 0.374 | 0.164 | 0.263 | 0.249 | 0.411 | 0.281 | 0.314 | 0.249 | 0.238 | 0.257 | 0.394 | 0.286 | 0.221 | 0.242 | 0.26 | 0.222 | 0.281 | 0.231 | 0.314 | 0.284 | 0.325 | 0.351 | 0.554 | 0.289 | 0.477 | 0.335 | 0.281 | 0.336 | 0.535 | 0.262 | 0.325 | 0.242 | 0.293 | 0.33 | 0.615 | 0.321 | 0.288 | 0.313 | 0.255 | 0.252 | 0.326 | 0.325 | 0.408 | 0.414 | 0.35
|  | 1.647 | 1.902 | 2.428 | 1.585 | 1.888 | 1.801 | 1.794 | 2.005 | 2.337 | 2.741 | 1.896 | 2.688 | 1.783 | 1.878 | 1.776 | 1.823 | 1.863 | 1.87 | 1.896 | 2.098 | 1.748 | 2.068 | 1.776 | 1.688 | 7.709 | 6.353 | 6.166 | 7.335 | 6.799 | 8.418 | 6.252 | 9.011 | 8.116 | 11.693 | 12.492 | 11.74 | 10.445 | 13.106 | 10.023 | 11.966 | 13.876 | 11.751 | 23.689 | 35.98 | 18.143 | 6.278 | 6.749 | 6.158 | 16.953 | 16.249 | 14.377 | 16.274 | 15.174 | 19.817 | 14.488 | 21.381 | 18.371 | 22.747 | 25.338 | 22.762 | 23.216 | 27.204 | 22.522 | 24.692 | 25.309 | 21.522 | 34.288 | 44.922 | 30.437 | 13.419 | 15.626 | 13.449
|  | 1.411 | 1.716 | 1.881 | 1.384 | 1.975 | 1.737 | 1.752 | 1.742 | 2.127 | 2.054 | 2 | 1.843 | 1.724 | 1.803 | 1.885 | 1.849 | 1.771 | 1.66 | 1.831 | 1.66 | 1.621 | 1.706 | 1.841 | 1.763 | 7.679 | 6.492 | 7.447 | 7.255 | 7.114 | 10.076 | 9.16 | 9.452 | 8.971 | 10.026 | 10.347 | 9.838 | 12.001 | 14.245 | 13.823 | 10.817 | 12.582 | 9.914 | 16.479 | 16.479 | 14.022 | 7.094 | 7.263 | 6.979 | 16.601 | 15.772 | 17.3 | 16.132 | 17.309 | 21.211 | 19.635 | 23.049 | 21.494 | 21.2 | 22.354 | 20.975 | 27.957 | 27.779 | 29.6 | 24.163 | 25.289 | 23.585 | 29.889 | 28.501 | 27.472 | 16.53 | 18.027 | 15.598
|  | 1.43 | 1.828 | 1.629 | 1.548 | 1.731 | 2.307 | 1.962 | 2.485 | 1.835 | 1.945 | 1.664 | 2.463 | 1.808 | 1.85 | 1.747 | 2.141 | 1.636 | 1.649 | 1.666 | 1.851 | 1.622 | 1.568 | 1.816 | 1.727 | 6.997 | 7.389 | 9.412 | 7.115 | 9.556 | 9.602 | 8.93 | 8.612 | 11.61 | 9.297 | 11.01 | 7.839 | 10.908 | 8.812 | 12.367 | 9.656 | 11.187 | 11.522 | 12.443 | 12.751 | 11.478 | 6.639 | 6.81 | 7.109 | 16.653 | 16.398 | 21.929 | 17.498 | 23.318 | 20.711 | 18.978 | 21.161 | 25.893 | 22.791 | 23.549 | 17.149 | 24.828 | 20.305 | 27.033 | 21.101 | 25.359 | 23.177 | 26.997 | 27.078 | 24.536 | 16.361 | 16.586 | 15.168
|  | 1.451 | 1.314 | 1.453 | 1.326 | 1.475 | 2.183 | 1.931 | 1.709 | 3.77 | 1.753 | 2.238 | 2.083 | 1.747 | 1.73 | 1.61 | 1.996 | 1.822 | 1.91 | 1.505 | 1.693 | 1.556 | 1.831 | 1.823 | 1.755 | 8.109 | 7.491 | 7.88 | 8.476 | 7.887 | 9.866 | 9.91 | 10.6 | 11.528 | 9.63 | 9.805 | 9.228 | 9.071 | 11.287 | 10.608 | 11.514 | 12.347 | 10.349 | 12.615 | 12.483 | 12.292 | 8.102 | 10.141 | 7.635 | 16.693 | 16.915 | 19.754 | 17.562 | 18.601 | 22.627 | 24.972 | 24.832 | 25.407 | 22.633 | 20.639 | 21.883 | 21.466 | 23.732 | 23.701 | 26.021 | 26.916 | 24.378 | 26.609 | 26.768 | 25.886 | 18.86 | 21.127 | 18.355
|  | 2.129 | 1.747 | 1.772 | 1.761 | 1.515 | 2.2 | 1.688 | 2.382 | 1.8 | 2.281 | 1.888 | 1.74 | 1.897 | 1.782 | 1.841 | 2.125 | 1.667 | 1.62 | 1.575 | 1.604 | 1.53 | 1.819 | 1.673 | 1.582 | 8.383 | 8.891 | 8.168 | 9.087 | 8.403 | 8.673 | 8.66 | 9.555 | 9.989 | 8.971 | 9.356 | 9.8 | 10.644 | 10.724 | 11.02 | 11.19 | 11.335 | 11.746 | 10.65 | 11.105 | 12.119 | 7.407 | 8.193 | 8.12 | 18.732 | 21.714 | 20.184 | 22.298 | 20.579 | 21.001 | 19.325 | 21.834 | 20.782 | 22.313 | 21.633 | 21.527 | 23.344 | 24.068 | 25.42 | 25.196 | 26.455 | 26.028 | 23.587 | 26.081 | 25.206 | 18.281 | 19.167 | 18.279
|  | 1.202 | 1.397 | 1.344 | 1.298 | 1.345 | 1.539 | 1.333 | 1.357 | 1.422 | 1.391 | 1.256 | 1.383 | 1.34 | 1.217 | 1.301 | 1.196 | 1.289 | 1.303 | 1.25 | 1.414 | 1.204 | 1.234 | 1.242 | 1.26 | 0.355 | 0.374 | 0.337 | 0.336 | 0.324 | 0.331 | 0.34 | 0.338 | 0.352 | 0.253 | 0.396 | -2.219 | 0.368 | 0.369 | 0.341 | 0.225 | 0.424 | 0.329 | 0.317 | 0.246 | 0.273 | 0.356 | 0.284 | 0.217 | 0.33 | 0.331 | 0.53 | 0.404 | 0.43 | 0.519 | 0.462 | 0.401 | 0.515 | 0.395 | 0.418 | 0.449 | 0.416 | 0.421 | 0.333 | 0.383 | 0.359 | 0.412 | 0.319 | 0.396 | 0.396 | 0.481 | 0.377 | 0.352
~End
Plate: | Plate1 | 1.3 | PlateFormat | Endpoint | Fluorescence | FALSE | Raw | FALSE | 1 | [5 empty] | 3 | 485 706 685 | 1 | 24 | 384 | 444 642 630 | Automatic | 475 695 665 |  |  | 6 |  |  | 1 | 16
| Temperature(¡C) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| 25 | 1.228 | 1.195 | 1.327 | 1.126 | 1.126 | 1.247 | 1.204 | 0.99 | 1.096 | 1.269 | 1.223 | 1.05 | 1.178 | 1.033 | 1.076 | 1.063 | 1.135 | 1.341 | 0.943 | 1.366 | 1.039 | 2.334 | 1.284 | 2.155 | 0.218 | 0.284 | 0.241 | 0.298 | 0.268 | 0.261 | 0.316 | 0.329 | 0.229 | 0.253 | 0.195 | 0.171 | 0.212 | 0.229 | 0.257 | 0.25 | 0.246 | 0.227 | 0.228 | 0.168 | 0.181 | 0.427 | 0.258 | 0.341 | 0.315 | 0.296 | 0.26 | 0.297 | 0.206 | 0.299 | 0.302 | 0.276 | 0.229 | 0.368 | 0.289 | 0.27 | 0.293 | 0.226 | 0.347 | 0.287 | 0.373 | 0.229 | 0.249 | 0.231 | 0.24 | 0.631 | 0.328 | 0.483
|  | 1.146 | 1.172 | 0.95 | 0.906 | 1.136 | 1.086 | 1.071 | 0.931 | 1.183 | 1.199 | 1.035 | 1.133 | 1.076 | 1.546 | 1.082 | 1.091 | 1.315 | 1.06 | 0.997 | 1.099 | 0.988 | 1.969 | 1.575 | 1.317 | 0.227 | 0.23 | 0.251 | 0.219 | 0.263 | 0.215 | 0.284 | 0.219 | 0.264 | 0.251 | 0.268 | 0.331 | 0.199 | 0.442 | 0.239 | 0.287 | 0.299 | 0.183 | 0.214 | 0.231 | 0.232 | 0.323 | 0.271 | 0.262 | 0.39 | 0.249 | 0.216 | 0.26 | 0.3 | 0.303 | 0.268 | 0.274 | 0.326 | 0.309 | 0.237 | 0.333 | 0.281 | 0.336 | 0.258 | 0.287 | 0.352 | 0.252 | 0.212 | 0.227 | 0.232 | 0.344 | 0.341 | 0.245
|  | 0.859 | 0.829 | 1.108 | 0.935 | 0.811 | 0.996 | 1.276 | 0.966 | 1.017 | 0.96 | 0.956 | 0.979 | 1.07 | 1.003 | 0.875 | 0.93 | 0.949 | 0.932 | 0.835 | 0.934 | 0.985 | 1.44 | 2.131 | 1.307 | 0.265 | 0.204 | 0.192 | 0.243 | 0.266 | 0.253 | 0.232 | 0.268 | 0.219 | 0.326 | 0.243 | 0.299 | 0.252 | 0.251 | 0.261 | 0.198 | 0.256 | 0.241 | 0.231 | 0.329 | 0.203 | 0.298 | 0.39 | 0.302 | 0.297 | 0.234 | 0.334 | 0.254 | 0.267 | 0.267 | 0.423 | 0.301 | 0.339 | 0.296 | 0.272 | 0.312 | 0.282 | 0.359 | 0.333 | 0.292 | 0.264 | 0.252 | 0.21 | 0.234 | 0.238 | 0.431 | 0.563 | 0.376
|  | 1.005 | 0.962 | 0.823 | 0.758 | 0.791 | 1.113 | 0.95 | 1.177 | 0.959 | 1.033 | 0.819 | 1.054 | 0.895 | 0.946 | 0.876 | 1.145 | 0.983 | 1.013 | 0.791 | 0.997 | 1.186 | 1.565 | 1.3 | 1.391 | 0.27 | 0.307 | 0.258 | 0.226 | 2.207 | 0.318 | 0.285 | 0.27 | 0.361 | 0.243 | 0.236 | 0.214 | 0.236 | 0.287 | 0.227 | 0.235 | 0.211 | 0.217 | 0.177 | 0.262 | 0.238 | 0.262 | 0.237 | 0.343 | 0.272 | 0.277 | 0.29 | 0.248 | 0.264 | 0.461 | 0.38 | 0.312 | 0.306 | 0.272 | 0.286 | 0.342 | 0.299 | 0.258 | 0.252 | 0.242 | 0.322 | 0.283 | 0.291 | 0.211 | 0.301 | 0.331 | 0.357 | 0.327
| NA | 1.036 | 2.144 | 1.19 | 2.035 | 1.081 | 1.406 | 1.31 | 2.284 | 1.342 | 1.914 | 1.019 | 1.11 | 1.128 | 2.208 | 1.044 | 1.473 | 2.074 | 1.99 | 1.606 | 1.994 | 2.013 | 1.756 | 1.362 | 1.308 | 0.3 | 0.336 | 0.264 | 0.489 | 0.229 | 0.212 | 0.268 | 0.473 | 0.246 | 0.336 | 0.32 | 0.228 | 0.318 | 0.36 | 0.222 | 0.32 | 0.278 | 0.448 | 0.279 | 0.468 | 0.438 | 0.26 | 0.231 | 0.256 | 0.331 | 0.472 | 0.279 | 0.547 | 0.347 | 0.271 | 0.3 | 0.698 | 0.292 | 0.319 | 0.264 | 0.294 | 0.304 | 0.535 | 0.31 | 0.339 | 0.574 | 0.433 | 0.284 | 0.48 | 0.505 | 0.41 | 0.432 | 0.377
|  | 4.863 | 5.232 | 5.243 | 5.468 | 6.385 | 6.257 | 4.602 | 6.875 | 5.006 | 177.127 | 137.805 | 135.86 | 67.734 | 68.567 | 67.439 | 618.17 | 527.575 | 637.541 | 929.705 | 853.592 | 1516.26 | 10.854 | 10.775 | 10.318 | 0.237 | 0.208 | 0.203 | 0.202 | 0.378 | 0.255 | 0.296 | 0.251 | 0.242 | 0.285 | 0.197 | 0.405 | 0.28 | 0.283 | 0.229 | 0.37 | 0.383 | 0.344 | 0.191 | 0.254 | 0.252 | 0.434 | 0.339 | 0.317 | 0.284 | 0.294 | 0.293 | 0.257 | 0.444 | 0.301 | 0.322 | 0.312 | 0.281 | 0.283 | 0.227 | 0.378 | 0.292 | 0.228 | 0.278 | 0.399 | 0.358 | 0.382 | 0.251 | 0.246 | 0.249 | 0.378 | 0.321 | 0.3
|  | 5.218 | 7.323 | 4.836 | 5.341 | 8.294 | 6.162 | 6.518 | 8.487 | 5.042 | 74.374 | 62.697 | 81.64 | 43.43 | 44.941 | 35.903 | 168.59 | 186.455 | 253.62 | 354.082 | 422.839 | 977.613 | 11.646 | 10.654 | 9.217 | 0.246 | 0.27 | 0.248 | 0.214 | 0.385 | 0.308 | 0.251 | 0.322 | 0.274 | 0.2 | 0.277 | 0.189 | 0.297 | 0.219 | 0.216 | 0.206 | 0.266 | 0.232 | 0.286 | 0.194 | 0.195 | 0.324 | 0.296 | 0.443 | 0.294 | 0.469 | 0.296 | 0.277 | 0.454 | 0.304 | 0.304 | 0.38 | 0.306 | 0.325 | 0.261 | 0.272 | 0.318 | 0.3 | 0.248 | 0.301 | 0.259 | 0.268 | 0.192 | 0.244 | 0.221 | 0.434 | 0.342 | 0.473
|  | 5.328 | 7.124 | 4.989 | 7.609 | 8.637 | 5.475 | 7.438 | 6.928 | 5.118 | 39.726 | 39.885 | 64.211 | 27.826 | 27.682 | 28.028 | 69.507 | 116.85 | 151.734 | 530.097 | 149.448 | 301.542 | 10.869 | 10.978 | 10.365 | 0.337 | 0.276 | 0.273 | 0.29 | 0.29 | 0.265 | 0.206 | 0.25 | 0.256 | 0.241 | 0.253 | 0.264 | 0.241 | 0.263 | 0.258 | 0.295 | 0.215 | 0.187 | 0.268 | 0.234 | 0.211 | 0.265 | 0.342 | 0.256 | 0.298 | 0.236 | 0.288 | 0.274 | 0.206 | 0.285 | 0.355 | 0.293 | -0.119 | 0.248 | 0.224 | 0.277 | 0.278 | 0.306 | 0.297 | 0.244 | 0.24 | 0.229 | 0.234 | 0.209 | 0.32 | 0.277 | 0.335 | 0.349
|  | 5.942 | 5.968 | 5.671 | 4.88 | 5.774 | 5.94 | 7.412 | 7.53 | 5.539 | 29.182 | 28.472 | 27.194 | 21.177 | 19.907 | 21.021 | 54.107 | 103.706 | 108.612 | 145.542 | 175.159 | 391.295 | 10.56 | 11.696 | 10.778 | 0.276 | 0.25 | 0.232 | 0.222 | 0.237 | 0.289 | 0.231 | 0.305 | 0.2 | 0.239 | 0.22 | 0.236 | 0.17 | 0.185 | 0.193 | 0.193 | 0.252 | 0.221 | 3.698 | 0.267 | 0.352 | 0.292 | 0.368 | 0.304 | 0.232 | 0.339 | 0.262 | 0.263 | 0.266 | 0.326 | 0.296 | 0.4 | 0.273 | 0.226 | 0.287 | 0.26 | 0.348 | 0.28 | 0.262 | 0.23 | 0.309 | 0.279 | 0.273 | 0.266 | 0.267 | 0.366 | 0.555 | 0.372
| ThT | 8.265 | 8.371 | 8.488 | 8.797 | 8.932 | 8.905 | 9.291 | 8.831 | 8.383 | 9.241 | 9.125 | 8.598 | 9.067 | 9.946 | 8.786 | 9.208 | 12.844 | 10.073 | 8.856 | 9.156 | 8.9 | 11.513 | 10.268 | 10.888 | 0.188 | 0.299 | 0.205 | 0.344 | 0.192 | 0.309 | 0.398 | 0.376 | 0.271 | 0.192 | 0.334 | 0.256 | 0.361 | 0.377 | 0.269 | 0.19 | 0.269 | 0.241 | 0.259 | 0.199 | 0.262 | 0.194 | 0.308 | 0.257 | 0.271 | 0.517 | 0.306 | 0.482 | 0.28 | 0.402 | 0.281 | 0.557 | 0.293 | 0.325 | 0.301 | 0.29 | 0.303 | 0.558 | 0.277 | 0.262 | 0.254 | 0.254 | 0.236 | 0.29 | 0.306 | 0.39 | 0.366 | 0.381
|  | 1.645 | 1.888 | 2.379 | 1.703 | 1.923 | 2.139 | 1.83 | 1.87 | 2.386 | 2.681 | 2.404 | 2.316 | 1.882 | 1.667 | 1.593 | 1.476 | 1.876 | 1.675 | 1.74 | 1.711 | 1.998 | 2.004 | 1.691 | 1.867 | 6.98 | 6.049 | 5.136 | 5.745 | 5.219 | 7.093 | 5.318 | 7.762 | 6.847 | 12.245 | 12.274 | 11.079 | 8.76 | 13.465 | 8.704 | 10.742 | 12.332 | 9.805 | 14.657 | 23.362 | 12.902 | 5.307 | 6.143 | 5.214 | 13.637 | 11.639 | 11.379 | 13.353 | 12.371 | 14.943 | 12.377 | 16.202 | 14.67 | 20.966 | 22.61 | 21.634 | 18.312 | 25.263 | 17.728 | 19.714 | 20.134 | 18.405 | 23.863 | 32.931 | 21.408 | 12.033 | 12.824 | 11.131
|  | 1.514 | 1.708 | 1.892 | 1.525 | 2.025 | 1.869 | 1.832 | 1.799 | 2.274 | 1.799 | 2.055 | 1.788 | 1.95 | 1.75 | 1.945 | 1.516 | 2.11 | 1.642 | 1.593 | 2.001 | 2.53 | 1.78 | 1.708 | 1.846 | 5.596 | 5.911 | 6.412 | 5.94 | 6.065 | 7.996 | 6.804 | 7.676 | 7.643 | 9.325 | 10.173 | 9.383 | 10.334 | 13.589 | 10.458 | 10.113 | 9.14 | 8.901 | 11.123 | 11.021 | 9.19 | 6.048 | 6.484 | 6.411 | 13.546 | 12.511 | 14.266 | 13.713 | 14.253 | 17.081 | 15.735 | 17.562 | 16.78 | 18.965 | 19.627 | 18.491 | 21.351 | 24.155 | 21.034 | 19.382 | 18.09 | 18.705 | 19.79 | 19.803 | 18.594 | 13.635 | 13.711 | 13.428
|  | 1.463 | 1.738 | 1.915 | 1.628 | 1.925 | 2.721 | 2.058 | 2.612 | 1.874 | 1.823 | 1.849 | 2.566 | 1.876 | 2.229 | 1.7 | 2.541 | 1.584 | 1.471 | 1.567 | 1.772 | 1.866 | 1.811 | 1.536 | 1.929 | 5.913 | 6.706 | 8.011 | 6.121 | 9.073 | 7.028 | 7.107 | 6.943 | 7.91 | 8.79 | 8.171 | 6.96 | 8.892 | 7.253 | 8.771 | 7.514 | 8.068 | 7.76 | 8.929 | 8.449 | 8.006 | 6.085 | 6.003 | 6.021 | 13.428 | 14.44 | 15.895 | 14.002 | 18.218 | 17.259 | 15.504 | 15.466 | 18.584 | 18.863 | 18.899 | 15.828 | 18.737 | 16.88 | 20.358 | 17.356 | 17.585 | 17.197 | 18.464 | 17.331 | 16.71 | 13.897 | 13.667 | 13.829
|  | 1.505 | 1.451 | 1.697 | 1.486 | 1.603 | 2.313 | 2.396 | 2.021 | 2.937 | 1.872 | 2.047 | 2.602 | 1.81 | 1.806 | 1.493 | 2.175 | 1.919 | 2.528 | 1.426 | 1.614 | 1.858 | 1.726 | 1.705 | 1.798 | 5.835 | 5.281 | 7.416 | 6.399 | 6.063 | 7.608 | 7.879 | 7.176 | 9.307 | 8.519 | 7.899 | 8.822 | 7.882 | 8.375 | 6.821 | 8.216 | 7.668 | 8.547 | 8.066 | 9.157 | 9.013 | 7.671 | 6.924 | 6.822 | 13.058 | 13.799 | 15.189 | 14.388 | 14.196 | 17.462 | 18.068 | 16.712 | 20.134 | 18.663 | 17.264 | 18.259 | 16.525 | 17.19 | 16.29 | 18.523 | 17.383 | 17.938 | 17.219 | 19.643 | 18.501 | 16.617 | 16.204 | 16.167
| PBB5 | 1.746 | 1.76 | 1.742 | 1.653 | 1.707 | 2.471 | 1.792 | 2.461 | 1.755 | 2.567 | 2.107 | 2.046 | 2.046 | 2.383 | 1.849 | 2.181 | 1.692 | 1.694 | 1.727 | 1.591 | 1.761 | 1.762 | 1.679 | 1.933 | 5.493 | 5.729 | 4.911 | 6.672 | 6.168 | 6.145 | 5.279 | 6.666 | 7.457 | 7.185 | 6.346 | 6.159 | 7.085 | 7.134 | 8.548 | 7.867 | 8.137 | 8.058 | 8.138 | 8.217 | 8.163 | 7.107 | 7.744 | 6.999 | 11.602 | 13.057 | 12.365 | 14.283 | 12.555 | 12.898 | 11.677 | 14.738 | 15.982 | 15.371 | 14.217 | 15.05 | 16.162 | 16.34 | 17.631 | 17.509 | 17.825 | 17.202 | 16.587 | 18.952 | 18.419 | 16.266 | 16.129 | 17.01
|  | 1.301 | 1.389 | 1.41 | 1.332 | 1.25 | 1.578 | 1.563 | 1.405 | 1.497 | 1.328 | 1.31 | 1.301 | 1.373 | 1.364 | 1.432 | 1.198 | 1.425 | 1.243 | 1.395 | 1.574 | 1.301 | 1.235 | 1.237 | 1.323 | 0.229 | 0.29 | 0.398 | 0.305 | 0.243 | 0.328 | 0.469 | 0.319 | 0.471 | 0.457 | 0.252 | 0.316 | 0.232 | 0.285 | 0.416 | 0.266 | 0.241 | 0.322 | 0.291 | 0.222 | 0.325 | 0.311 | 0.301 | 0.289 | 0.353 | 0.372 | 0.435 | 0.516 | 0.436 | 0.597 | 0.401 | 0.402 | 0.445 | 0.422 | 0.416 | 0.368 | 0.455 | 0.385 | 0.436 | 0.324 | 0.433 | 0.336 | 0.338 | 0.421 | 0.303 | 0.311 | 0.339 | 0.373
~End
Original Filename: 20170922_MK181_DyeTest; Date Last Saved: 9/22/2017 12:56:24 PM
[10 empty] | background | 9.4833
[10 empty] | 1 | 167.6437 | 128.3217 | 126.3767 | 58.2507 | 59.0837 | 57.9557 | 608.6867 | 518.0917 | 628.0577 | 920.2217 | 844.1087 | 1506.7767
[10 empty] | 1:02 | 64.8907 | 53.2137 | 72.1567 | 33.9467 | 35.4577 | 26.4197 | 159.1067 | 176.9717 | 244.1367 | 344.5987 | 413.3557 | 968.1297
[10 empty] | 1:04 | 30.2427 | 30.4017 | 54.7277 | 18.3427 | 18.1987 | 18.5447 | 60.0237 | 107.3667 | 142.2507 | 520.6137 | 139.9647 | 292.0587
|  | 9: 1:08; 10: 19.6987; 11: 18.9887; 12: 17.7107; 13: 11.6937; 14: 10.4237; 15: 11.5377; 16: 44.6237; 17: 94.2227; 18: 99.1287; 19: 136.0587; 20: 165.6757; 21: 381.8117 | [8 empty] | background | 7.5864 | [22 empty] | background | 16.7721
[10 empty] | 0:00 | -0.24233 | -0.35833 | -0.88533 | -0.41633 | 0.46267 | -0.69733 | -0.27533 | 3.3607 | 0.58967 | -0.62733 | -0.32733 | -0.58333
[34 empty] | 1 | 4.6586 | 4.6876 | 3.4926 | 1.1736 | 5.8786 | 1.1176 | 3.1556 | 4.7456 | 2.2186 | 7.0706 | 15.7756 | 5.3156 | [11 empty] | 1 | 4.1939 | 5.8379 | 4.8619 | 1.5399 | 8.4909 | 0.95592 | 2.9419 | 3.3619 | 1.6329 | 7.0909 | 16.1589 | 4.6359
[34 empty] | 1:02 | 1.7386 | 2.5866 | 1.7966 | 2.7476 | 6.0026 | 2.8716 | 2.5266 | 1.5536 | 1.3146 | 3.5366 | 3.4346 | 1.6036 | [11 empty] | 1:02 | 2.1929 | 2.8549 | 1.7189 | 4.5789 | 7.3829 | 4.2619 | 2.6099 | 1.3179 | 1.9329 | 3.0179 | 3.0309 | 1.8219
[34 empty] | 1:04 | 1.2036 | 0.58458 | -0.62642 | 1.3056 | -0.33342 | 1.1846 | -0.072417 | 0.48158 | 0.17358 | 1.3426 | 0.86258 | 0.41958 | [11 empty] | 1:04 | 2.0909 | 2.1269 | -0.94408 | 1.9649 | 0.10792 | 3.5859 | 0.58392 | 0.81292 | 0.42492 | 1.6919 | 0.55892 | -0.062083
[34 empty] | 1:08 | 0.93258 | 0.31258 | 1.2356 | 0.29558 | 0.78858 | -0.76542 | 0.62958 | 0.081583 | 0.96058 | 0.47958 | 1.5706 | 1.4266 | [11 empty] | 1:08 | 1.8909 | 0.49192 | 1.4869 | -0.24708 | 0.41792 | -0.48208 | 1.7509 | 0.61092 | 1.1659 | 0.44692 | 2.8709 | 1.7289
[34 empty] | 0:00 | -0.40142 | -1.2404 | -1.4274 | -0.50142 | -0.45242 | 0.96158 | 0.28058 | 0.55058 | 0.47158 | 0.55158 | 0.63058 | 0.57658 | [11 empty] | 0:00 | -1.4011 | -2.5551 | -1.7221 | -0.61008 | -0.43208 | 0.85892 | 0.73692 | 1.0529 | 0.42992 | -0.18508 | 2.1799 | 1.6469

## Sheet1
ThT | background | 9.4833
| 1x | 167.6437 | 128.3217 | 126.3767 | 58.2507 | 59.0837 | 57.9557 | 608.6867 | 518.0917 | 628.0577 | 920.2217 | 844.1087 | 1506.7767
| 2x | 64.8907 | 53.2137 | 72.1567 | 33.9467 | 35.4577 | 26.4197 | 159.1067 | 176.9717 | 244.1367 | 344.5987 | 413.3557 | 968.1297
| 4x | 30.2427 | 30.4017 | 54.7277 | 18.3427 | 18.1987 | 18.5447 | 60.0237 | 107.3667 | 142.2507 | 520.6137 | 139.9647 | 292.0587
| 8x | 19.6987 | 18.9887 | 17.7107 | 11.6937 | 10.4237 | 11.5377 | 44.6237 | 94.2227 | 99.1287 | 136.0587 | 165.6757 | 381.8117
| buffer | -0.24233 | -0.35833 | -0.88533 | -0.41633 | 0.46267 | -0.69733 | -0.27533 | 3.3607 | 0.58967 | -0.62733 | -0.32733 | -0.58333
| normalized conct | WT |  |  | P301L |  |  | N279K (new) |  |  | N279K (old)
|  | 1 |  |  | 0.27797 |  |  | 1.0528 |  |  | 1.3371
|  | 167.6437 | 128.3217 | 126.3767 | 209.5565 | 212.5532 | 208.4952 | 578.1561 | 492.1051 | 596.5555 | 688.2004 | 631.2782 | 1126.8636
|  | 64.8907 | 53.2137 | 72.1567 | 122.123 | 127.5588 | 95.0446 | 151.1262 | 168.0951 | 231.8912 | 257.7128 | 309.1337 | 724.029
|  | 30.2427 | 30.4017 | 54.7277 | 65.9877 | 65.4696 | 66.7143 | 57.013 | 101.9814 | 135.1156 | 389.3481 | 104.6745 | 218.4201
|  | 19.6987 | 18.9887 | 17.7107 | 42.0679 | 37.4991 | 41.5067 | 42.3854 | 89.4966 | 94.1566 | 101.7533 | 123.9028 | 285.5431
PBB5 | background | 7.5864
642/706
| 1x | 4.6586 | 4.6876 | 3.4926 | 1.1736 | 5.8786 | 1.1176 | 3.1556 | 4.7456 | 2.2186 | 7.0706 | 15.7756 | 5.3156
| 2x | 1.7386 | 2.5866 | 1.7966 | 2.7476 | 6.0026 | 2.8716 | 2.5266 | 1.5536 | 1.3146 | 3.5366 | 3.4346 | 1.6036
| 4x | 1.2036 | 0.58458 | -0.62642 | 1.3056 | -0.33342 | 1.1846 | -0.072417 | 0.48158 | 0.17358 | 1.3426 | 0.86258 | 0.41958
| 8x | 0.93258 | 0.31258 | 1.2356 | 0.29558 | 0.78858 | -0.76542 | 0.62958 | 0.081583 | 0.96058 | 0.47958 | 1.5706 | 1.4266
| buffer | -0.40142 | -1.2404 | -1.4274 | -0.50142 | -0.45242 | 0.96158 | 0.28058 | 0.55058 | 0.47158 | 0.55158 | 0.63058 | 0.57658
| normalized conct | WT |  |  | P301L |  |  | N279K (new) |  |  | N279K (old)
|  | 1 |  |  | 0.27797 |  |  | 1.0528 |  |  | 1.3371
|  | 4.6586 | 4.6876 | 3.4926 | 4.222 | 21.1482 | 4.0205 | 2.9973 | 4.5076 | 2.1073 | 5.2878 | 11.798 | 3.9753
|  | 1.7386 | 2.5866 | 1.7966 | 9.8844 | 21.5943 | 10.3305 | 2.3999 | 1.4757 | 1.2486 | 2.6449 | 2.5686 | 1.1993
|  | 1.2036 | 0.58458 | -0.62642 | 4.6968 | -1.1995 | 4.2615 | -0.068784 | 0.45743 | 0.16488 | 1.0041 | 0.64509 | 0.31379
|  | 0.93258 | 0.31258 | 1.2356 | 1.0634 | 2.8369 | -2.7536 | 0.598 | 0.077491 | 0.9124 | 0.35866 | 1.1746 | 1.0669
PBB5 | background | 16.7721
665/685
| 1x | 4.1939 | 5.8379 | 4.8619 | 1.5399 | 8.4909 | 0.95592 | 2.9419 | 3.3619 | 1.6329 | 7.0909 | 16.1589 | 4.6359
| 2x | 2.1929 | 2.8549 | 1.7189 | 4.5789 | 7.3829 | 4.2619 | 2.6099 | 1.3179 | 1.9329 | 3.0179 | 3.0309 | 1.8219
| 4x | 2.0909 | 2.1269 | -0.94408 | 1.9649 | 0.10792 | 3.5859 | 0.58392 | 0.81292 | 0.42492 | 1.6919 | 0.55892 | -0.062083
| 8x | 1.8909 | 0.49192 | 1.4869 | -0.24708 | 0.41792 | -0.48208 | 1.7509 | 0.61092 | 1.1659 | 0.44692 | 2.8709 | 1.7289
| buffer | -1.4011 | -2.5551 | -1.7221 | -0.61008 | -0.43208 | 0.85892 | 0.73692 | 1.0529 | 0.42992 | -0.18508 | 2.1799 | 1.6469
| normalized conct | WT |  |  | P301L |  |  | N279K (new) |  |  | N279K (old)
|  | 1 |  |  | 0.27797 |  |  | 1.0528 |  |  | 1.3371
|  | 4.1939 | 5.8379 | 4.8619 | 5.5398 | 30.546 | 3.4389 | 2.7944 | 3.1933 | 1.551 | 5.303 | 12.0847 | 3.467
|  | 2.1929 | 2.8549 | 1.7189 | 16.4726 | 26.56 | 15.3322 | 2.479 | 1.2518 | 1.836 | 2.257 | 2.2667 | 1.3625
|  | 2.0909 | 2.1269 | -0.94408 | 7.0688 | 0.38823 | 12.9003 | 0.55463 | 0.77214 | 0.4036 | 1.2653 | 0.41799 | -0.04643
|  | 1.8909 | 0.49192 | 1.4869 | -0.88888 | 1.5035 | -1.7343 | 1.6631 | 0.58027 | 1.1074 | 0.33423 | 2.1471 | 1.293